## Slide 1
Login

## Slide 2
Connecting

## Slide 3
Splash
ELIXYS
Automated Radiochemical Synthesis Platform
Designed and developed by the van Dam Lab
California Nanosystems Institute
University of California Los Angeles
Loading

## Slide 4
Home
Manage my account
Manage system users
View and export log data
This option will only be available when running the installed client (AIR).
Functions only available to system administrators.
Allows users to change their password and personal information.
Create, view or run a sequence
Watch the run the is currently in progress
Log out
This option will appear when another user is running the system.

## Slide 5
Select
(Sequences)
Sequences
Run History
Choose a saved sequence from this tab and use the buttons below to do one of the following:
View
Run
Edit
Delete
Create a new saved sequence from scratch.

## Slide 6
Select
(Run History)
Sequences
Run History
9/21/2011 hsimpson FAC Synthesis 10.4% FAC
9/19/2011 hsimpson FAC Synthesis 14.7% FAC
9/16/2011 hsimpson FAC Synthesis Gasket fell off
Choose a past run from this tab and either view it or copy it to a saved sequence.

## Slide 7
Select Sequence
(Create)

## Slide 8
Select Sequence
(Copy)

## Slide 9
Select Sequence
(Delete)

## Slide 10
View Sequence
(Cassette)
Make this column wider to fit more descriptive text.
Click/tap an operation in the left panel to change the contents of the right panel.

## Slide 11
View Sequence
(Unit Operation)

## Slide 12
Unit Operations
Hardware Operations
Move Reactor
Reactor Up
Reactor where the reagent will be added
Reagent to add to the reactor
Position where the reagent will be added
Number of seconds to deliver the reagent
Pressure in to use when delivering the reagent
Add Reagent
*
*
*
*
Add
*
to reactor
*
at position
Edit Sequence
(Overview)
Click/tap an operation in the middle panel to change the contents of the right panel.
Set the operation parameters in the right panel.
Toolbox contains both unit and hardware operations.

## Slide 13
Unit Operations
Hardware Operations
Move Reactor
Reactor Up
Edit Sequence
(Cassette)
Tap/click to enable or disable this cassette.
Tap/click to edit this reagent.
Reagents with the same name are treated as identical by the system.

## Slide 14
Unit Operations
Hardware Operations
Move Reactor
Reactor Up
Edit Sequence
(Cassette)
Tap/click to enable or disable this reagent.
Strings from the server describe each field.
Brief name of this reagent
Longer description of this reagent
Asterisks indicates required fields.
*
Name

## Slide 15
Edit Sequence
(Unit operation)
Unit Operations
Hardware Operations
Move Reactor
Reactor Up
Reactor where the reagent will be added
Reagent to add to the reactor
Position where the reagent will be added
Number of seconds to deliver the reagent
Pressure in to use when delivering the reagent
Add Reagent
*
*
*
*
Add
*
to reactor
*
at position
Server automatically fills in certain fields with default values.

## Slide 16
Unit Operations
Hardware Operations
Move Reactor
Reactor Up
Reactor where the reagent will be added
Reagent to add to the reactor
Position where the reagent will be added
Number of seconds to deliver the reagent
Pressure in to use when delivering the reagent
Add Reagent
*
*
*
*
Add
*
to reactor
*
at position
Edit Sequence
(Add, reorder
and delete)
Drag operation to trash can to delete.
Drag operation up or down to reorder.
Drag an operation from the toolbox and drop it in the sequence to add.

## Slide 17
Edit Sequence
(Validation)
Unit Operations
Hardware Operations
Move Reactor
Reactor Up
Reactor where the reagent will be added
The reagent field is required.
Position where the reagent will be added
Number of seconds to deliver the reagent
Pressure in to use when delivering the reagent
Add Reagent
*
*
*
*
Add
*
to reactor
*
at position
!
!
Icons used to visually indicate validation errors.
A description of the validation error is displayed below the field.

## Slide 18
Edit Sequence
(Validation)
Unit Operations
Hardware Operations
Move Reactor
Reactor Up
Reactor where the reagent will be added
The reagent field is required.
Position where the reagent will be added
Number of seconds to deliver the reagent
Pressure in to use when delivering the reagent
Add Reagent
*
*
*
*
Add
*
to reactor
*
at position
!
!
The sequence “FAC Synthesis” has validation errors. Are you sure you want to go back to the sequence selection screen?
Back
Cancel
Validation errors will cause a warning when Back is clicked.

## Slide 19
Edit Sequence
(Validation)
Unit Operations
Hardware Operations
Move Reactor
Reactor Up
Reactor where the reagent will be added
The reagent field is required.
Position where the reagent will be added
Number of seconds to deliver the reagent
Pressure in to use when delivering the reagent
Add Reagent
*
*
*
*
Add
*
to reactor
*
at position
!
!
The sequence “FAC Synthesis” cannot be run because it contains validation errors.
OK
Validation errors will cause an error when Run is clicked.

## Slide 20
Run Sequence
(Start)

## Slide 21
Run Sequence
(Running)
Unit Operations
Hardware Operations
Move Reactor
Reactor Up
Reactor where the reagent will be added
Reagent to add to the reactor
Position where the reagent will be added
Number of seconds to deliver the reagent
Pressure in to use when delivering the reagent
Add Reagent
*
*
*
*
Add
*
to reactor
*
at position
The view will advance automatically with the run if the in-progress unit operation is selected.
Adding Reagent
Adding MeCN to reactor 1 via delivery position 2. Using 5 PSI of nitrogen and delivering for 10 seconds.
Reactor 1
Abort
Unit operations that have already passed are grayed out.
The current unit operation is progress is highlighted.

## Slide 22
Run Sequence
(Abort)
Unit Operations
Hardware Operations
Move Reactor
Reactor Up
Reactor where the reagent will be added
Reagent to add to the reactor
Position where the reagent will be added
Number of seconds to deliver the reagent
Pressure in to use when delivering the reagent
Add Reagent
*
*
*
*
Add
*
to reactor
*
at position
The current run can be completely aborted.
Adding Reagent
Adding MeCN to reactor 1 via delivery position 2. Using 5 PSI of nitrogen and delivering for 10 seconds.
Reactor 1
Abort

## Slide 23
Run Sequence
(Edit)
Unit Operations
Hardware Operations
Move Reactor
Reactor Up
Reactor where the reagent will be added
Reagent to add to the reactor
Position where the reagent will be added
Number of seconds to deliver the reagent
Pressure in to use when delivering the reagent
Add Reagent
*
*
*
*
Add
*
to reactor
*
at position
Unit operations that haven’t occurred yet can be edited while the run is in progress.
C`
C`
Abort
Reagents that haven’t been used yet can also be editing while the run is in progress.

## Slide 24
Run Sequence
(View)
Unit Operations
Hardware Operations
Move Reactor
Reactor Up
Reactor where the reagent will be added
Reagent to add to the reactor
Position where the reagent will be added
Number of seconds to deliver the reagent
Pressure in to use when delivering the reagent
Add Reagent
*
*
*
*
Add
*
to reactor
*
at position
Unit operations that have already occurred can be viewed but not edited.
C`
C`
Abort
Reagents that have already used can also be viewed but not edited.
Add Reagent
Add MeCN to reactor 1 via delivery position 1. Use 5 PSI of nitrogen and deliver for 10 seconds.

## Slide 25
Run Sequence
(Breakpoints)
Unit Operations
Hardware Operations
Move Reactor
Reactor Up
Reactor where the reagent will be added
Reagent to add to the reactor
Position where the reagent will be added
Number of seconds to deliver the reagent
Pressure in to use when delivering the reagent
Add Reagent
*
*
*
*
Add
*
to reactor
*
at position
Tap/click breakpoint area to set or clear breakpoints.
C`
C`
Abort
System will pause prior to the step when a breakpoint is encountered.
Step
Run

## Slide 26
Run Sequence
(Breakpoints)
Unit Operations
Hardware Operations
Move Reactor
Reactor Up
Reactor where the reagent will be added
Reagent to add to the reactor
Position where the reagent will be added
Number of seconds to deliver the reagent
Pressure in to use when delivering the reagent
Add Reagent
*
*
*
*
Add
*
to reactor
*
at position
Any unit operation inserted before the current position will become the new current unit operation.
C`
C`
Abort
Step
Run
The parameters for the current and future unit operations can be changed.

## Slide 27
Run Sequence
(Breakpoints)
Unit Operations
Hardware Operations
Move Reactor
Reactor Up
Reactor where the reagent will be added
Reagent to add to the reactor
Position where the reagent will be added
Number of seconds to deliver the reagent
Pressure in to use when delivering the reagent
Add Reagent
*
*
*
*
Add
*
to reactor
*
at position
C`
C`
Abort
Step
Run
Run to the next breakpoint or end of the sequence.
Step to perform the next unit operation and break again.
The system will refuse to continue if any validation errors are encountered.

## Slide 28
Run Sequence
(Complete)
Unit Operations
Hardware Operations
Move Reactor
Reactor Up
Reactor where the reagent will be added
Reagent to add to the reactor
Position where the reagent will be added
Number of seconds to deliver the reagent
Pressure in to use when delivering the reagent
Add Reagent
*
*
*
*
Add
*
to reactor
*
at position
Adding Reagent
Adding MeCN to reactor 1 via delivery position 2. Using 5 PSI of nitrogen and delivering for 10 seconds.
Reactor 1
Abort
OK
Sequence “FAC Synthesis” completed successfully.
Enter an optional comment for this run:
35.2% yield

## Slide 29
My Account
First:
Save
Homer
Cancel
Last:
Simpson
Change Password
User:
hsimpson
Role:
Administrator

## Slide 30
First:
Save
Homer
Cancel
Last:
Simpson
Change Password
User:
hsimpson
Role:
Administrator
My Account
(Password)
Enter your new password and verify:
Update
********
Cancel
Enter your current password:
********
********